APPLICATION:	EXPOSED / PEDESTRIAN TRAFFIC

ASSEMBLY:	FABRIC REINFORCED

COLD-APPLIED MEMBRANE

HYDROSEAL DECK MEMBRANE

LONG FORM SPECIFICATION

PART I   GENERAL

1.01	SUMMARY

- Note To Specifier. This specification serves as a guideline and should be adapted to suit the requirements of each project. It is prepared in accordance with the CSI three-part section format and shall be included as a separate section under DIVISION 7 - Thermal and Moisture Protection. Improvements and other changes to the contents shall be made only with the written approval of the architect.

1.02	REFERENCES

A.	American Society for Testing and Materials (ASTM).

B.	American Hydrotech, Inc., HydroSeal Deck Membrane & Accessories TechData Sheet.

1.03	SYSTEM DESCRIPTION

- Furnish and install a completed cold, liquid-applied, reinforced roofing membrane assembly including primer, fleece reinforced liquid-applied membrane, with integral walkable surfacing.

1.04	DELIVERY, STORAGE AND HANDLING

- Deliver materials in original unopened containers of packaging, clearly labeled with manufacturer's name, brand name, instructions for use, and all identifying numbers.

- Materials shall be stored in a neat and safe manner, not to exceed the allowable structural capacity of the storage area.

C.	Store materials in a clean, dry area protected from water and direct sunlight in temperatures between 32F (10C) and 77F (25C).

D.	Store all adhesives at temperatures between 60°F (15.5°C) and 80°F (26.6°C).  If exposed to lower temperatures, restore materials to 60°F (15.5°C) minimum temperature before using.

  - PROJECT CONDITIONS

- Application of membrane shall not proceed during inclement weather. All surfaces to receive the membrane shall be free of water, dew, frost, snow, ice and foreign matter.

- As the membrane requires a cure time application shall not begin when there is a threat of inclement weather.

- Application of cold liquid applied reinforced membrane shall proceed while the air temperature is between 37F (3C) and 95F (35C). The substrate shall be a minimum of 5 degrees above the dew point temperature.

- Preparation and application of membrane shall take place in well ventilated areas.

- General contractor shall assure adequate protection during installation and curing of the waterproofing assembly.

1.06	WARRANTY

A.	Upon completion of the work, the contractor shall supply the owner with a single-source warranty of U.S. origin direct from the manufacturer.

B.	Each warranty varies in scope and terms.  CONTACT Hydrotech for exact warranty terms and conditions to meet the specific project requirements.

C.	Warranties available from the manufacturer: (Note to Specifier: Edit to project requirements)

1.	Material Warranties; for HydroSeal Deck Membrane and/or HydroSeal Finish; 	excludes labor.

Duration:  5-year maximum

2.	Watertightness Warranties; for HydroSeal Deck Membrane only; includes labor 	and material to maintain watertight condition.

Duration:  5-, 10-, 15-, 20-year

PART II

2.01	GENERAL

A.	Refer to Section 1.03, SYSTEM DESCRIPTION.  All components shall be obtained as a single-source from the membrane supplier to ensure total system compatibility and integrity.

Supplier:	American Hydrotech, Inc.

303 East Ohio Street

Chicago, Illinois 60611-3318

800-877-6125 or 312-337-4998 FAX:  312-661-0731

Web Site:  www.hydrotechusa.com

2.02	MATERIALS

A. 	Membrane

- Membrane resin shall be a two-component, fast curing, polymethyl-methacrylate 	(PMMA).

- American Hydrotech, Inc., HydroSeal Deck resin, conforming to ASTM C836/C836M-15 Standard Specification for High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane for Use with Separate Wearing Course.

| PROPERTY | TEST METHOD | VALUE |
| --- | --- | --- |
| Color |  | Gray |
| Thickness (avg) @ 0.31 kg/ft² coverage rate w/Fleece | ASTM D751 or D5147 | ≥ 90 mils |
| Weight (min per 100 ft² of coverage) |  | 68 lb. |
| Peak Load (avg) @ 73°F | ASTM D5147 | 70 lb. f/in |
| Elongation at Peak Load (avg) @ 73°F | ASTM D5147 or D412 | ≥ 35% |
| Shore A Hardness (avg) | ASTM D2240 | ≥ 70 |
| Water Absorption, Method I (24h @ 73°F) | ASTM D570 | 0.8% |
| Water Absorption, Method II (48h @ 122°F) | ASTM D570 | 1.2% |
| Low Temperature Flexibility @ 0°F | ASTM D5147 | PASS |
| Dimensional Stability (max) | ASTM D5147 | 0.15% |
| Min thickness | ASTM D751 or D5147 | 90 mils |
| Tensile Strength @ break | ASTM D5147 or D4073 | > 60 lbs./in |
| Elongation | ASTM D751 | > 49% |
| Tear Resistance | ASTM D751 | > 7 lbs. |
| Water Vapor Transmission | ASTM E96 | 0.45 Perms |
| Water Absorption | ASTM D471 | < 1.5% |
| Static Puncture | ASTM D5602 | ≥ 30 |

- Reinforcing shall be a non-woven, chopped strand, polyester fabric reinforcement

- American Hydrotech, Inc., HydroSeal Fleece

B.	Flashing (Note to Specifier: CONSULT Hydrotech for recommended products and uses.)

1.	Two-component, liquid applied resin membrane flashing system.

a. 	American Hydrotech, Inc., HydroSeal Flashing resin

- poly methyl-methacrylate (PMMA) resin

b. 	American Hydrotech, Inc., HydroSeal Flashing accessories

- resin based primers, additives, reinforcing fleece, surfacing topcoats

C. 	Deck Membrane Accessories (Note to Specifier: CONSULT Hydrotech for recommended 	products and uses.)

1.	Resin based primers, additives, surfacing topcoats as required.

- 	American Hydrotech, Inc., HydroSeal Deck Membrane accessories

PART III

3.01   	INSPECTION

- The contractor shall examine every surface scheduled to receive the waterproofing assembly to verify it is acceptable and proper for the application of the membrane.

- The contractor shall not proceed with the installation of the membrane until all defects have been corrected.

3.02	PREPARATION

A.	All surfaces shall be dry, smooth, free of depressions, voids, protrusions, clean and free of unapproved curing compounds, form release agents and other surface contaminants.

(Note to Specifier: Edit to project requirements)

1.	Cast in-place concrete/Composite concrete deck

a.	Poured in place concrete shall be monolithic, smooth, free of voids, spalled areas, laitance, honeycombs, and sharp protrusions.

b.	Concrete shall be cured a minimum of 28 days in accordance with ACI-308, or as recommended by the concrete supplier, in order to achieve a minimum hardness of 3,500 psi (25 N/mm2) with a maximum moisture content of six (6) percent or 75% relative humidity.

c.	Concrete shall be abrasively cleaned (i.e., shot blast) in accordance with ASTM D4259 to provide a sound substrate free from laitance with an open concrete surface. Areas of minor surface deterioration of 0.50 inch (13 mm) or greater in depth, and/or spalls, voids, bug holes and other deterioration on vertical surfaces or horizontal surfaces shall be repaired.

2.	Precast concrete decks

a.	Precast units shall be mechanically secured to minimize differential movement and all joints between units shall be grouted or caulked.

    - Precast concrete shall have a maximum moisture content of six (6) percent or 75% relative humidity.

3.	Plywood decks

a.	Minimum thickness of 1/2" (12.7 mm) shall be required with tongue and groove joint edges and adequate structural support.

b.	Adequate number and type of fasteners shall be used to comply with applicable codes and maintain structural integrity.

c.	Plywood panel shall be coated with HydroSeal Primer-Deck, and all voids, board joints, knot holes, cracks and fastener points shall be filled with a quality urethane sealant or HydroSeal Paste.

d.	Plywood panel joints shall be pre-detailed with 2 inch (5cm) wide bond breaker tape followed by 6 inch (15cm) minimum wide strips of HydroSeal Deck Membrane resin centered over joint.

4.	Re-Roof /Tear-Off Application

a.	Asphalt, coal tar pitch or other existing membrane shall be removed.  CONTACT Hydrotech.

b.	Deck type acceptable to Hydrotech.

B.	Substrate cleaning

1.	Thoroughly sweep the substrate which is to receive the roof membrane.

2.	Substrate shall be blown clean using an air compressor to remove any remaining loose debris.

3.03	DECK MEMBRANE AND FLASHING INSTALLATION

A.	Primer Application

- All substrates shall be primed as recommended or required by Hydrotech. Primer shall be required on concrete, masonry, metal, and all roof substrate board materials.

a.	Two-component HydroSeal Primer-Flashing or Primer-Deck, as required, shall be applied to concrete, masonry, and all roof substrate board materials at a minimum rate of 0.037 kg/sqft (0.4 kg/m2) and allowed to cure 45 minutes minimum.

b. 	One-component HydroSeal Primer-Metal shall be applied to all metal substrates in a thin, even coat and allowed to cure 1 hour minimum.

B.	Detailing/Flashing

- All termination and penetration flashing details shall be completed prior to the application of the HydroSeal Deck Membrane over the field of the deck.

- HydroSeal Flashing Membrane application shall be accomplished in accordance with Hydrotech's standard guideline details and instructions using HydroSeal Flashing resin and appropriate accessories.

C.	Membrane Application

- HydroSeal Deck resin shall be applied in an even base layer at a minimum rate of 0.19 kg/sqft (2.0 kg/m2).

- HydroSeal Fleece reinforcement shall be laid into the wet Deck resin, saturating from the bottom up removing trapped air using a lamb’s wool roller.

a.	Minimum 2 inch (5 cm) overlaps at all side laps and 4 inch (10 cm) at all end laps of adjacent Fleece shall be maintained.

- HydroSeal Deck resin shall be applied in an even top coat over the Fleece at a minimum rate of 0.09 kg/sqft (1.0 kg/sqm).

- HydroSeal Deck Membrane shall be allowed to cure a minimum 45 minutes prior to opening to traffic and installation of surfacing materials.

3.04	MEMBRANE INTEGRITY TEST

A.	Prior to the installation of any surfacing, the completed HydroSeal Deck Membrane shall be 	leak tested by means of electronic testing or by ponding water at a minimum depth of 2” 	(50.8	mm) for a period of 48 hours to check the integrity of the membrane installation.

1. 	VERIFY that the structure can support the dead load weight of a water test before 			testing.

2.	If leaks should occur, the water shall be drained completely, and the membrane 			installation repaired.

- In the event of excessive damage to the membrane assembly, electronic breach detection testing shall be required prior to the placement of subsequent overburden materials.

3.05	SURFACING INSTALLATION (Note to Specifier: Edit to project requirements)

- The completed and cured HydroSeal Deck Membrane shall be covered with the appropriate surfacing within 12 – 24 hours of completion.

1.	For exposures greater than 24 hours, HydroSeal Activator shall be used to clean and 		reactivate the HydroSeal Deck Membrane surface.

- The type of surfacing to be installed shall be determined by the architect and shall be based upon the final exposed surface of the roof.

- Non-Traffic Bearing Exposed Membrane

1. 	If the completed HydroSeal Deck Membrane surface will not be exposed to pedestrian 		traffic, no further surfacing shall be required.

2.	If a color other than the standard HydroSeal Deck Membrane surface is desired, 			HydroSeal Finish-Color shall be applied.

a. 	HydroSeal Finish-Color shall be applied to the surface of the cured HydroSeal Deck Membrane at a rate of 0.046 kg/sqft (0.5 kg/sqm) using approved rollers or squeegee.

b. 	The completed surfacing shall be allowed to cure a minimum 1 hour before access is allowed.

- Exposed/Pedestrian Traffic Bearing Membrane

- All exposed membrane wearing surface options shall require the application of HydroSeal Mortar.

a. 	HydroSeal Mortar shall be applied to the surface of the HydroSeal Deck Membrane at a rate of 0.37 kg/sqft (4.0 kg/sqm) to a maximum thickness of 3/8 inch.

b. 	HydroSeal Mortar shall be allowed to cure a minimum 1 hour prior to application of surfacing.

c.	HydroSeal Mortar shall be covered with subsequent surfacing within 12 hours of applications.

- General-Duty Wearing Surfacing shall provide a slip-resistant general-duty wearing surface appropriate for typical exposed balcony or terrace decks without the need for a separate broadcasting of aggregate.

a. 	HydroSeal Finish-Textured shall be applied to the surface of the cured HydroSeal Mortar at a rate of 0.17 kg/sqft (1.8 kg/sqm) using a trowel and approved rollers or squeegee.

b. 	HydroSeal Finish-Textured shall be back-rolled in cross directions to obtain a uniform finish.

c. 	The completed surfacing shall be allowed to cure a minimum 45 minutes before access is allowed.

- Heavy-Duty Wearing Surfacing shall provide a slip-resistant standard-duty wearing surface appropriate for typical exposed balcony or terrace decks using medium-grained aggregate.

a. 	HydroSeal Finish-Color shall be applied as an aggregate bedding coat to the surface of the cured HydroSeal Mortar at a rate of 0.056 kg/sqft (0.6 kg/sqm) using approved rollers or squeegee.

b. 	Quartz silica aggregate shall be broadcast into the wet resin to excess for full coverage. Excess aggregate shall be removed after 45 minutes cure.

- 0.4 – 0.8 mm quartz aggregate shall be used.

c. 	HydroSeal Finish-Color shall be applied as a surface coat at a rate of 0.046 kg/sqft (0.5 kg/sqm) using approved rollers.

d. 	The completed surfacing shall be allowed to cure a minimum 2 hours before access is allowed.

3.06	PROTECTION

- Upon completion of new work (including all associated work) appropriate procedures for

surveillance and protection of finished work during remainder of construction period shall 	be instituted. Areas where membrane has been installed shall be protected until final 	wearing surface is installed.

End of Section.